## Sheet1
Sewer Line | FROM MH | TO MH | LENGTH (FT) | LOTS SERVED | TOTAL LOTS SERVED | n | AVERAGE SEWAGE FLOW (GPD) | AVERAGE SEWAGE FLOW (CFS) | MAX SEWAGE FLOW (CFS) | PIPE DIAMETER (IN) | UPPER MH INVERT | LOWER MH INVERT | DIFF. (FT) | SEWER GRADE (%) | SEWER FALL (FT) | HYDRAULIC RADIUS (FT) | VELOCITY FLOWING FULL (FPS) | CAPACITY FLOWING FULL (CFS)
Example | EX | 1 | 212 | 3 | 3 | 0.013 | 1050 | 0.0016246 | 0.0064984 | 8 | 554 | 522.79 | 31.21 | 14.7217 | 31.21 | 0.16667 | 13.3185 | 4.649