## CUSTOMER INFO
REQUEST DATE :
WORK ORDER # :
PROPERTY LOCATION :
CROSS STREET :
DATE OF TEST :
TIME OF TEST :
FLOW HYDRANT ID :
MONITOR HYDRANT ID :
CONTACT PERSON :
EMAIL :
COMPANY NAME :
STREET ADDRESS :
CITY : |  |  |  |  | STATE : | ZIP :
PHONE : |  |  |  |  | OTHER:
REQUEST TO BE ON SITE |  |  | (Please highlight if Yes)
RESULTS (Select ) :
PERMIT # : |  |  | WSFH20200
FLOW HYD ADDRESS:
MONITOR HYD ADDRESS:
NOTES:
PURPOSE OF HYDRANT TEST (CHECK ALL THAT APPLY):
REVIEW FOR BUILDING PERMIT REQUIRED BY:
|  |  | Flow Requirement |  |  | GPM
ENGINEER/FIRE SPRINKLER COMPANY
Proposed tap location(s) & main size:
Proposed tap location(s) & main size:
|  |  |  | CHARGES : |  | 100
MWS
INITIAL
|  |  |  | TOTAL : |  | 100
COMMENTS
HYDRANT FLOW TEST
CUSTOMER INFORMATION AND BILLING SUMMARY FORM
CUSTOMER BILLING INFORMATION
COMMENTS
Fire Marshal
Metro Water Services
Sprinkler Design
Proposed Development with Hydrants
NO
YES
EMAIL
PICKUP
FAX

## TEST FORM-RESULTS
Two Hydrant Test Results Summary
System Services Division (SSD)
[7 empty] | Business Unit: 65556810 Work Order # | 0
Date of Test |  | 0 |  |  |  | Request Date: | 0
Property Location |  | 0
Cross Street: |  | 0
Hydrant # 1 - Flowing Hydrant
MWS ID |  | 0
Static Pressure |  |  | psi | Time ON
Flow Pressure (Pitot) |  |  | psi | Time OFF
Hydrant Outlet Coefficient |  |  | 0.9
Hydrant Outlet Diameter |  |  | 2.5 | inches
This corresponds to a flowrate of |  |  | 0 | gpm | Using the Orifice Eqtn. (4.7.3 of NFPA 291)
Hydrant #2 - Monitoring Hydrant
MWS ID |  | 0
Static Pressure |  |  | psi | Time ON
Residual Pressure |  |  | psi | Time OFF
Calculation of available fire flow at 20 psi as required by Table H.5.1 of the NFPA 1 Uniform Fire Code 2006 Edition (Using the pressure relational equation - 4.10.1.2 of NFPA 291)
With a 20 psi residual pressure at Hydrant #2, the available flow in the main at Hydrant #2 is: | [6 empty] | Review | gpm
MWS is providing these instantaneous readings for informational purposes only and cannot ensure that it represents actual hydrant flow conditions over any period of time.
Residual Presure at Hydrant #2 (psi) | Flow (gpm)
5 | #NUM!
10 | #NUM!
15 | #NUM!
20 | #NUM!
25 | #NUM!
30 | #NUM!
35 | #NUM!
40 | #NUM!
45 | #NUM!
50 | #NUM!
55 | #NUM!
60 | #NUM!
65 | #NUM!
70 | #NUM!
75 | #NUM!
80 | #NUM!
85 | #NUM!
90 | #NUM!
95 | #NUM!
100 | #NUM!
105 | #NUM!
110 | #NUM!
115 | #NUM!
120 | #NUM!
125 | #NUM!
130 | #NUM!
135 | #NUM!
140 | #NUM!
145 | #NUM!
150 | #NUM!